## Slide 1
Bushfires and Planning in NSW
Kerry Bedford Director, State and Regional Planning PlanningNSW

## Slide 2: December 2001-January 2002 Bushfires
750,000 hectares
48 council areas
109 residential properties lost
40 properties damaged
no lives lost

## Slide 3: Protecting people and property
suitable land uses near bushland
good subdivision layout and design
buildings designed to resist fire
managing vegetation
maintaining homes and gardens
firefighting resources

## Slide 4: Protecting people and property
suitable land uses near bushland
good subdivision layout and design
buildings designed to resist fire
managing vegetation
maintaining homes and gardens
firefighting resources

## Slide 5: New laws
Bill in Parliament
Rural Fires and Environmental Assessment Legislation Amendment Bill 2002
amends both the
Rural Fires Act 1997
Environmental Planning & Assessment Act 1979

## Slide 6: Changes
clear emergency powers for firefighters
a single approval for bush fire hazard reduction
councils to map bushfire prone areas
note on s149 certificates
developments in bushfire prone areas must comply with Planning for Bushfire Protection

## Slide 8: Planning for Bushfire Protection
rezoning of land
development approvals
construction standards
mainatenance issues

## Slide 9: Rezoning land
only allow appropriate uses near bushland
allow sufficient space for
  access - for for firefighters and for evacuation
  separation between the fire source and the building
adequate water supply and access

## Slide 10: Development Approvals
Integrated development
‘high risk’ developments referred to
Rural Fire Service
consultation with Rural Fire Service when the proposal does not comply with Planning for Bushfire Protection

## Slide 11: Integrated developments
schools, child care centres, hospitals
hotels, motels, tourist accommodation
housing for the aged and disabled (SEPP 5)
retirement villages
group homes (SEPP 9)

## Slide 12: Design principles
subdivision design
  perimeter roads,
  fire trails,
avoid steep slopes
build on level ground
keep services underground
have water storage on site
setbacks

## Slide 13: Setbacks
Asset Protection Zone -
  to provide the separation between the hazard and the building
  a buffer to reduce the fuel levels
  within the development site
  includes a fire trail or perimeter road
  on land less than 18 degrees slope

## Slide 14: Asset Protection Zones
Outer area
  decreases the intensity of a fire
  10 to 15 metres
  fuel level of 8 tonnes per hectare
Inner area
  minimum fuel levels
  depth depends on slope and type of vegetation
  20 to 60 metres (85 for high risk developments)

## Slide 16
Fire trails: rear access and setbacks
No fire trails, no rear access, minimal setback

## Slide 17: Planning for Bushfire Protection